How to use DS-KC001

Step 1.

Active the device

(the password must same as Temperature MinMoe Terminal)

Step 2.

If you don’t connect the network cable, the Wi-Fi configuration interface will pop up automatically.

Step 3.

If you are using a wired network, you can obtain an available IP address by turning on DHCP\

Step 4.

Select the Temperature MinMoe Terminal to be bound

Note.

The ‘temperature measurement only’ mode is a thermal imaging picture; the visible light pictures will be taken after authentication.

(It depends on the version of MinMoe Terminal)

See Far Go Farther

HIKVISION Technical Support